ETICS renovation and maintenance - Solution 4.9

ELASTIC FILLING PRIMER

Supply and application of a high-thickness, high-fill elastomeric fiber-reinforced primer/finish (similar to ELASTOCOLOR RASANTE SF produced by Mapei S.p.A.). The product is properly diluted with water and has a crack resistance of A3 class (>0.5mm) according to EN 1062-7.